## Facilities
KAF Base Camp Facilities
AREA - FACILITY - FLOOR Type of Infrastructure | Bldg Number | [5 empty] | Owner | Occupant | Purpose / Type | [8 empty] | Primary Construction Material |  |  |  |  | Hardened (FP) | Doors |  |  | Windows |  |  | Restrooms / Washrooms |  |  |  |  | Climatisation | [6 empty] | Electrical | [7 empty] | Lighting | [7 empty] | Flooring |  |  |  | Water |  |  | Sewage |  | Fire |  |  |  | Security |  | Public Address System |  | Specialized Equipment / Unique to Facility | Comments
| Fire Dept. | CJ-4 | Contractor | Other (Specify) | Facility (m²) | Associated Yard / Land (m²) | NATO / Other (Specify) | NATO / Other (Specify) | Accn | RSOI | Ablution | Office | Workshop | Storage | Comms | Hangar | Airfield Specific | Steel | Wood | Stone / Concrete | Tented (Canvas, rubber etc) | Other (Specify) | Yes / No | # Internal | # External | # Roller / Hanging | # Internal | # External | # Blast resistant | # Restrooms | # Toilets | # Urinals | # Showers | # Wash basins | # AC / Heater | # AC | # Heaters | Fans |  | HVAC |  | Source | Type | Panels |  |  | Gensets |  |  | Internal Lights |  |  |  | External Lights |  |  |  | Type by m2 |  |  |  | H2O Type | # Boiler / water heater | # Water tanks | Mains (Yes / No) | # Septic tanks | Suppression system |  | Alarm System |  | Intruder alarm (Yes / No) | Motion Detectors (Yes / No) | Intercom | Speakers | Specify
[38 empty] | Ceiling | Ventilation / Exhaust | External HVAC | # Sub-units | Mains / Gens (Specify) | 110 / 220 (Specify) | # Main Panels | # Sub Panels | Main breaker size | # Main Generator | # Standby Generators | # Insectocutors | Standard |  | Fluorescent |  | Standard |  | Fluorescent |  | Tile | Linoleum | Carpet | Wood | Potable / Non-potable |  |  |  |  | Manual | Automatic | Addressable | Non-addressable
[50 empty] | # Normal | # Emerg. | # Normal | # Emerg. | # Normal | # Emerg. | # Normal | # Emerg.
NATO facilities
Fire Hall | 101 |  |  |  | 1600 |  | NATO | Contractor | [5 empty] | ü |  |  |  | ü |  |  |  |  | No |  | 2 | 6 | [8 empty] | 5 |  |  | 1 | 1 |  |  | Mains | 208 | 1 | [5 empty] | 15 | [11 empty] | N/A | N/A | N/A | Yes | 1 | ü |  |  | ü | No | No | N/A | N/A |  | Floor Paint on Concrete
Fire Hall Accommodations | 102 |  |  |  | 1400 |  | NATO | Contractor | ü |  |  | ü |  | ü |  |  |  | ü |  |  |  |  | No | 29 | 3 |  |  | 25 |  | 1 | 4 | 2 | 6 | 6 | 26 | [6 empty] | Mains | 208 | 2 | [7 empty] | 50 | 3 | [5 empty] | 1,600m² |  |  | N/A | 1 | N/A | N/A | N/A | ü |  |  | ü | No | No | N/A | N/A
North Main Distribution Node | 122B |  |  |  | 18 |  | NATO | NATO | [6 empty] | ü |  |  | ü |  |  |  |  | No |  | 1 | [9 empty] | 2 | [6 empty] | Gen | Dual | 1 | 2 | 400 A | 1 |  |  |  |  | 6 | [6 empty] | 17.36m² |  |  | N/A
TLS Ablutions | 123 |  |  |  | 29 |  | NATO | NATO |  |  | ü | [6 empty] | ü |  |  |  |  | No |  | 2 | [5 empty] | 6 | 2 |  | 6 | 2 |  |  |  | 2 |  |  | Mains | 110 | [8 empty] | 8 |  | 2 |  |  |  |  | 28.8m² |  |  | Non-Pot |  |  |  | 1 |  |  |  |  | No | No | N/A | N/A
TLS Building | 124 |  |  |  | 5530 |  | NATO | NATO |  |  |  | ü |  |  | ü |  |  |  |  | ü |  |  | No | 85 | 11 | [9 empty] | 76 |  |  |  | 8 |  |  | Mains |  | 1 | 4 |  | 1 |  |  |  |  | 318 | 14 | 5 | [7 empty] | N/A | N/A | N/A | N/A | N/A | ü |  |  | ü | No | No | N/A | N/A |  | Concrete Floor
Base Operations Centre | 126 |  |  |  | 441 | 1935 | NATO | NATO |  |  |  | ü | [9 empty] | Corimec | No | 12 | 3 |  |  | 18 |  | 2 | 4 | 2 |  | 3 | 13 | [6 empty] | Mains | 110 | 1 |  |  | 1 |  |  |  | 4 | 47 |  | 3 | [7 empty] | Non-Pot | N/A | N/A | Yea | N/A | ü |  |  | ü | No | No | N/A | N/A
BOC Area Distribution Node | 126A |  |  |  | 18 |  | NATO | None | [6 empty] | ü |  |  | ü |  |  |  |  | No | 0 | 1 | [9 empty] | 2 | [6 empty] | Gen | Dual | 1 | 2 | 400 A | 1 |  |  |  |  | 6 | [6 empty] | 17.36m² |  |  | Non-Pot
Air Traffic Control Tower |  |  |  |  | 250 |  | NATO | NATO
Lightning Vault ATCT | 112 |  |  |  | 30 |  | NATO | NATO
Hanger CATO Cargo Support | 201 |  |  |  | 5515 | 9900 | NATO | Contractor |  |  |  | ü |  | ü |  | ü | ü |  |  | ü |  | Corimec | No | 32 | 5 | 4 |  | 52 |  | 4 | 20 | 7 |  | 15 | 10 | [6 empty] | Mains | 380 | 1 | 2 |  |  | 1 |  | 230 | 8 |  |  |  |  | 10 |  | 3700m² |  |  |  | Non-Pot | 1 | N/A | Yes | N/A | ü |  | ü |  | No | No | N/A | N/A |  | Remainder is Concrete Floor
KILO Hangar Area Distribution Node | 201A |  |  |  | 18 |  | NATO | None | [6 empty] | ü |  |  | ü |  |  |  |  | No | 0 | 1 | [9 empty] | 2 | [6 empty] | Gen | Dual | 1 | 2 | 400A | 1 |  |  |  |  | 6 | [6 empty] | 17.36m² |  |  | N/A
Theatre Map Depot | 0240A |  |  |  | 535 |  | NATO | NATO |  |  |  | ü |  | ü |  |  |  | ü |  |  |  |  | No | 1 | 1 | 1 | 2 | 2 | [6 empty] | 6 |  |  |  |  | 1 |  | Mains | 110 | 1 | 1 |  |  |  |  | 24 |  | 3 | [9 empty] | N/A |  |  |  |  | ü | ü | ü |  | No | No | N/A | N/A |  | Concrete Floor
KBR Area Distribution Node | 413B |  |  |  | 18 |  | NATO | None | [6 empty] | ü |  |  | ü |  |  |  |  | No | 0 | 1 | [9 empty] | 2 | [6 empty] | Gen | Dual | 1 | 2 | 400 A | 1 |  |  |  |  | 6 | [6 empty] | 17.36m² |  |  | N/A | [8 empty] | No | No
NATO ACCOMMODATION BUILDING | 0601A |  |  |  | 1123 |  | NATO | NATO | ü | [10 empty] | ü |  |  | Yes | 58 | 8 |  |  | 56 |  | 4 | 9 | 6 | 12 | 16 | 56 |  |  |  | 4 |  |  | Gens | 208 | 1 | 2 |  | 3 |  |  | 148 | 4 | 30 | 10 | [5 empty] | 1123m² |  |  | Potable | 4 |  | Yes |  | ü |  | ü |  | No | No | N/A | N/A |  | 3 Gens covering A-I
NATO ACCOMMODATION BUILDING | 0601B |  |  |  | 1123 |  | NATO | NATO | ü | [10 empty] | ü |  |  | Yes | 58 | 8 |  |  | 56 |  | 4 | 9 | 6 | 12 | 16 | 56 |  |  |  | 4 |  |  | Gens | 208 | 1 | 2 |  | 3 |  |  | 148 | 4 | 30 | 10 | [5 empty] | 1123m² |  |  | Potable | 4 |  | Yes |  | ü |  | ü |  | No | No | N/A | N/A |  | 3 Gens covering A-I
NATO ACCOMMODATION BUILDING | 0601C |  |  |  | 1123 |  | NATO | NATO | ü | [10 empty] | ü |  |  | Yes | 58 | 8 |  |  | 56 |  | 4 | 9 | 6 | 12 | 16 | 56 |  |  |  | 4 |  |  | Gens | 208 | 1 | 2 |  | 3 |  |  | 148 | 4 | 30 | 10 | [5 empty] | 1123m² |  |  | Potable | 4 |  | Yes |  | ü |  | ü |  | No | No | N/A | N/A |  | 3 Gens covering A-I
NATO ACCOMMODATION BUILDING | 0601D |  |  |  | 1123 |  | NATO | NATO | ü | [10 empty] | ü |  |  | Yes | 58 | 8 |  |  | 56 |  | 4 | 9 | 6 | 12 | 16 | 56 |  |  |  | 4 |  |  | Gens | 208 | 1 | 2 |  | 3 |  |  | 148 | 4 | 30 | 10 | [5 empty] | 1123m² |  |  | Potable | 4 |  | Yes |  | ü |  | ü |  | No | No | N/A | N/A |  | 3 Gens covering A-I
NATO ACCOMMODATION BUILDING | 0601E |  |  |  | 1123 |  | NATO | NATO | ü | [10 empty] | ü |  |  | Yes | 58 | 8 |  |  | 56 |  | 4 | 9 | 6 | 12 | 16 | 56 |  |  |  | 4 |  |  | Gens | 208 | 1 | 2 |  | 3 |  |  | 148 | 4 | 30 | 10 | [5 empty] | 1123m² |  |  | Potable | 4 |  | Yes |  | ü |  | ü |  | No | No | N/A | N/A |  | 3 Gens covering A-I
NATO ACCOMMODATION BUILDING | 0601F |  |  |  | 1123 |  | NATO | NATO | ü | [10 empty] | ü |  |  | Yes | 58 | 8 |  |  | 56 |  | 4 | 9 | 6 | 12 | 16 | 56 |  |  |  | 4 |  |  | Gens | 208 | 1 | 2 |  | 3 |  |  | 148 | 4 | 30 | 10 | [5 empty] | 1123m² |  |  | Potable | 4 |  | Yes |  | ü |  | ü |  | No | No | N/A | N/A |  | 3 Gens covering A-I
NATO ACCOMMODATION BUILDING | 0601G |  |  |  | 1123 |  | NATO | NATO | ü | [10 empty] | ü |  |  | Yes | 58 | 8 |  |  | 56 |  | 4 | 9 | 6 | 12 | 16 | 56 |  |  |  | 4 |  |  | Gens | 208 | 1 | 2 |  | 3 |  |  | 148 | 4 | 30 | 10 | [5 empty] | 1123m² |  |  | Potable | 4 |  | Yes |  | ü |  | ü |  | No | No | N/A | N/A |  | 3 Gens covering A-I
NATO ACCOMMODATION BUILDING | 0601H |  |  |  | 1123 |  | NATO | NATO | ü | [10 empty] | ü |  |  | Yes | 58 | 8 |  |  | 56 |  | 4 | 9 | 6 | 12 | 16 | 56 |  |  |  | 4 |  |  | Gens | 208 | 1 | 2 |  | 3 |  |  | 148 | 4 | 30 | 10 | [5 empty] | 1123m² |  |  | Potable | 4 |  | Yes |  | ü |  | ü |  | No | No | N/A | N/A |  | 3 Gens covering A-I
NATO ACCOMMODATION BUILDING | 0601I |  |  |  | 1123 |  | NATO | NATO | ü | [10 empty] | ü |  |  | Yes | 58 | 8 |  |  | 56 |  | 4 | 9 | 6 | 12 | 16 | 56 |  |  |  | 4 |  |  | Gens | 208 | 1 | 2 |  | 3 |  |  | 148 | 4 | 30 | 10 | [5 empty] | 1123m² |  |  | Potable | 4 |  | Yes |  | ü |  | ü |  | No | No | N/A | N/A |  | 3 Gens covering A-I
RSOI Ablutions | 0700A |  |  | 1 | 15 |  | NATO | NATO |  |  | ü | [6 empty] | ü |  |  |  |  | No |  | 1 | [7 empty] | 6 | 6 | 1 |  |  |  | 2 |  |  | Mains | 110 | 1 | [7 empty] | 4 |  | 1 |  |  |  |  | 14.4m² |  |  | Non-Pot | 1 | [7 empty] | No | No | N/A | N/A |  | Building No's not on Base Map
RSOI Ablutions | 0700B |  |  | 2 | 15 |  | NATO | NATO |  |  | ü | [6 empty] | ü |  |  |  |  | No |  | 1 | [7 empty] | 6 | 6 | 1 |  |  |  | 2 |  |  | Mains | 110 | 1 | [7 empty] | 4 |  | 1 |  |  |  |  | 14.4m² |  |  | Non-Pot | 1 | [7 empty] | No | No | N/A | N/A |  | Building No's not on Base Map
RSOI Ablutions | 0700C |  |  | 3 | 15 |  | NATO | NATO |  |  | ü | [6 empty] | ü |  |  |  |  | No |  | 1 | [5 empty] | 5 | 2 |  | 5 | 1 |  |  |  | 1 |  |  | Mains | 110 | [8 empty] | 3 |  | 1 |  |  |  |  | 14.4m² |  |  | Non-Pot | 1 | [7 empty] | No | No | N/A | N/A |  | Building No's not on Base Map
RSOI Ablutions | 0700D |  |  | 4 | 15 |  | NATO | NATO |  |  | ü | [6 empty] | ü |  |  |  |  | No |  | 1 | [5 empty] | 3 | 2 |  | 5 | 1 |  |  |  | 1 |  |  | Mains | 110 | [8 empty] | 3 |  | 1 |  |  |  |  | 14.4m² |  |  | Non-Pot | 1 | [7 empty] | No | No | N/A | N/A |  | Building No's not on Base Map
RSOI Ablutions | 0700E |  |  | 5 | 15 |  | NATO | NATO |  |  | ü | [6 empty] | ü |  |  |  |  | No |  | 1 | [5 empty] | 4 |  | 2 | 4 | 1 |  |  |  | 1 |  |  | Mains | 110 | [8 empty] | 3 |  | 1 |  |  |  |  | 14.4m² |  |  | Non-Pot | 1 | [7 empty] | No | No | N/A | N/A |  | Building No's not on Base Map
RSOI Ablutions | 0700F |  |  | 6 | 15 |  | NATO | NATO |  |  | ü | [6 empty] | ü |  |  |  |  | No |  | 1 | [5 empty] | 4 |  | 2 | 4 | 1 |  |  |  | 1 |  |  | Mains | 110 | [8 empty] | 3 |  | 1 |  |  |  |  | 14.4m² |  |  | Non-Pot | 1 | [7 empty] | No | No | N/A | N/A |  | Building No's not on Base Map
RSOI Ablutions | 0700G |  |  | 7 | 15 |  | NATO | NATO |  |  | ü | [6 empty] | ü |  |  |  |  | No |  | 1 | [5 empty] | 5 | 2 |  | 5 | 1 |  |  |  | 1 |  |  | Mains | 110 | [8 empty] | 3 |  | 1 |  |  |  |  | 14.4m² |  |  | Non-Pot | 1 | [7 empty] | No | No | N/A | N/A |  | Building No's not on Base Map
RSOI Ablutions | 0700H |  |  | 8 | 15 |  | NATO | NATO |  |  | ü | [6 empty] | ü |  |  |  |  | No |  | 1 | [5 empty] | 3 | 2 | 3 | 4 | 1 |  |  |  | 1 |  |  | Mains | 110 | [8 empty] | 3 |  | 1 |  |  |  |  | 14.4m² |  |  | Non-Pot | 1 | [7 empty] | No | No | N/A | N/A |  | Building No's not on Base Map
RSOI Ablutions (NEW) |  |  |  |  | 390 |  | NATO | NATO |  | ü | ü | [6 empty] | ü |  |  |  |  | No | 3 | 3 | [13 empty] | 10 |  |  | Gens | 220 |  |  |  | 2 |  |  | 30 |  | 30 | [15 empty] | ü | ü |  | No | No | N/A | N/A |  | Painted Concrete Floor
RSOI Tent 1 | 721 |  |  |  | 600 |  | NATO | NATO | ü | ü | [10 empty] | ü |  | No |  | 4 | [9 empty] | 8 | [6 empty] | Mains | 208 | 2 | [6 empty] | 4 | 24 | [9 empty] | Non-Pot |  |  |  |  | ü |  |  | ü | No | No | N/A | N/A |  | Concrete Floor
RSOI Tent 2 | 722 |  |  |  | 600 |  | NATO | NATO | ü | ü | [10 empty] | ü |  | No |  | 4 | [9 empty] | 8 | [6 empty] | Mains | 208 | 2 | [6 empty] | 4 | 24 | [9 empty] | Non-Pot |  |  |  |  | ü |  |  | ü | No | No | N/A | N/A |  | Concrete Floor
RSOI Tent 3 | 723 |  |  |  | 600 |  | NATO | NATO | ü | ü | [10 empty] | ü |  | No |  | 4 | [9 empty] | 8 | [6 empty] | Mains | 208 | 2 | [6 empty] | 4 | 24 | [9 empty] | Non-Pot |  |  |  |  | ü |  |  | ü | No | No | N/A | N/A |  | Concrete Floor
RSOI Tent 4 | 724 |  |  |  | 1200 |  | NATO | NATO | ü | ü | [10 empty] | ü |  | No |  | 4 | [9 empty] | 10 | [6 empty] | Mains | 208 | 2 | [6 empty] | 4 | 24 | [9 empty] | Non-Pot |  |  |  |  | ü |  |  | ü | No | No | N/A | N/A |  | Concrete Floor
RSOI Tent 5 | 725 |  |  |  | 1200 |  | NATO | NATO | ü | ü | [10 empty] | ü |  | No |  | 4 | [9 empty] | 10 | [6 empty] | Mains | 208 | 2 | [6 empty] | 4 | 24 | [9 empty] | Non-Pot |  |  |  |  | ü |  |  | ü | No | No | N/A | N/A |  | Concrete Floor
RSOI Tent | 0726A |  |  |  | 800 |  | NATO | NATO | ü | ü | [10 empty] | ü |  | No |  | 4 | [9 empty] | 1 |  | 1 |  |  |  |  | Mains | 208 | 1 | [6 empty] | 4 | 24 | [9 empty] | Non-Pot |  |  |  |  | ü |  |  | ü | No | No | N/A | N/A |  | Concrete Floor
RSOI Tent | 0726B |  |  |  | 800 |  | NATO | NATO | ü | ü | [10 empty] | ü |  | No |  | 4 | [9 empty] | 1 |  | 1 |  |  |  |  | Mains | 208 | 1 | [6 empty] | 4 | 24 | [9 empty] | Non-Pot |  |  |  |  | ü |  |  | ü | No | No | N/A | N/A |  | Concrete Floor
RSOI Tent 7 | 727 |  |  |  | 450 |  | NATO | NATO | ü | ü | [10 empty] | ü |  | No |  | 4 | [9 empty] | 6 |  | 2 |  |  |  |  | Mains | 208 | 1 | [6 empty] | 2 | 16 | [9 empty] | Non-Pot |  |  |  |  | ü |  |  | ü | No | No | N/A | N/A |  | Concrete Floor
RSOI Tent 6 | 728 |  |  |  | 450 |  | NATO | NATO | ü | ü | [10 empty] | ü |  | No |  | 4 | [9 empty] | 6 |  | 2 |  |  |  |  | Mains | 208 | 1 | [6 empty] | 2 | 16 | [9 empty] | Non-Pot |  |  |  |  | ü |  |  | ü | No | No | N/A | N/A |  | Concrete Floor
Chai House | 729 |  |  |  | 244 |  | NATO | NATO |  |  |  | ü | [7 empty] | ü |  |  | No | 9 | 4 |  |  | 10 |  |  |  | 2 |  |  | 12 | [6 empty] | Mains | 110 | [6 empty] | 15 | 3 | 20 | [5 empty] | 27m² |  | 200m² |  | Non-Pot |  | 1 | No | 1 | ü |  |  |  | No | No | N/A | N/A
Office Dept 38 | 705 |  |  |  | 1472 |  | NATO | NATO |  |  |  | ü | [5 empty] | ü |  |  |  |  | No | 6 | 2 |  |  | 7 | [6 empty] | 8 | [6 empty] | Mains | 110 | 1 | 1 | [6 empty] | 32 |  | 1 |  |  |  |  | 1472m² | [11 empty] | No | No | N/A | N/A
South Main Distribution Node | 0705A |  |  |  | 29 |  | NATO | None | [5 empty] | ü |  |  |  | ü |  |  |  |  | No |  | 1 | [9 empty] | 2 | [6 empty] | Mains | 110 | [6 empty] | 5 | [8 empty] | 28.8m² |  |  | N/A | N/A | N/A | N/A | N/A | ü |  |  |  | No | No | N/A | N/A
Accommodation | 0705B |  |  |  | 453 |  | NATO | NATO | ü |  | ü | [10 empty] | Corimec | No | 28 | 2 |  | 26 |  |  | 4 | 12 | 5 | 12 | 14 | 26 |  |  |  | 4 |  |  | Mains | 110 | [8 empty] | 60 | 3 | [5 empty] | 453m² |  |  | Non-Pot | 4 |  |  |  | ü |  |  | ü | No | No | N/A | N/A
Accommodation | 0705C |  |  |  | 453 |  | NATO | NATO | ü |  | ü | [10 empty] | Corimec | No | 28 | 2 |  | 26 |  |  | 4 | 12 | 5 | 12 | 14 | 2 |  |  |  | 4 |  |  | Mains | 110 | [8 empty] | 60 | 3 | [5 empty] | 453m² |  |  | Non-Pot | 4 |  |  |  | ü |  |  |  | No | No | N/A | N/A
Office Dept 38 | 706 |  |  |  | 1472 |  | NATO | NATO |  |  |  | ü | [5 empty] | ü |  |  |  |  | No | 4 | 2 |  |  | 8 | [6 empty] | 8 | [6 empty] | Mains | 110 | 1 | 1 | [6 empty] | 30 |  | 2 |  |  |  |  | 1472m² | [11 empty] | No | No | N/A | N/A
Dept 38 | 0706A |  |  |  | 58 |  | NATO | NATO |  |  |  | ü |  | ü |  |  |  | ü |  |  |  |  | No |  | 2 |  |  | 2 | [6 empty] | 2 | [6 empty] | Mains | 110 | 1 | 1 |  |  |  |  | 2 |  | 8 |  | 2 |  |  |  |  | 58m² |  | 58M² | Non-Pot |  |  |  |  | ü |  |  | ü | No | No | N/A | N/A
Dept 38 | 0706B |  |  |  | 15 |  | NATO | NATO |  |  |  | ü |  | ü |  |  |  | ü |  |  |  |  | No |  | 1 |  |  | 1 | [6 empty] | 1 |  |  | 1 |  |  |  | Mains | 110 |  | 1 | [6 empty] | 2 |  | 1 |  |  |  |  | 15m² | [11 empty] | No | No | N/A | N/A
Dept 38 | 0706C |  |  |  | 860 |  | NATO | NATO |  |  |  | ü |  | ü |  |  |  | ü |  |  |  |  | No |  | 1 | [9 empty] | 2 | [6 empty] | Mains | 110 |  | 1 | [6 empty] | 14 |  | 2 |  |  |  | 860m² | [12 empty] | No | No | N/A | N/A
Server Centre/Computer Room | 0706E |  |  |  | 384 |  | NATO | NATO |  |  |  | ü |  | ü | ü |  |  |  |  | ü |  |  | Yes | 5 | 2 |  |  | 2 |  | 1 | 2 |  |  | 1 | 4 | [6 empty] | Mains | 220 | 1 | 2 | [6 empty] | 84 |  | 1 |  |  |  |  | 900m² |  |  | Non-Pot | 1 | 1 | Yes | 1 |  | ü | ü |  | No | No | N/A | N/A
Juliet Flight Line Security Gate |  |  |  |  | 16 |  | NATO | NATO | [8 empty] | ü | ü |  |  |  |  | No |  | 1 |  |  | 1 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 |  | 2 |  |  |  |  | 16m² |  |  | N/A |  |  | N/A | N/A |  |  |  |  | No | No | N/A | N/A
Kilo Flight Line Security Gate |  |  |  |  | 16 |  | NATO | NATO | [8 empty] | ü | ü |  |  |  |  | No |  | 1 |  |  | 1 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 |  | 2 |  |  |  |  | 16m² |  |  | N/A |  |  | N/A | N/A |  |  |  |  | No | No | N/A | N/A
Lima Flight Line Security Gate |  |  |  |  | 16 |  | NATO | NATO | [8 empty] | ü | ü |  |  |  |  | No |  | 1 |  |  | 1 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 |  | 2 |  |  |  |  | 16m² |  |  | N/A |  |  | N/A | N/A |  |  |  |  | No | No | N/A | N/A
Whiskey Flight Line Security Gate |  |  |  |  | 16 |  | NATO | NATO | [8 empty] | ü | ü |  |  |  |  | No |  | 1 |  |  | 1 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 |  | 2 |  |  |  |  | 16m² |  |  | N/A |  |  | N/A | N/A |  |  |  |  | No | No | N/A | N/A
Whiskey Flight Line Security Gate |  |  |  |  | 16 |  | NATO | NATO | [8 empty] | ü | ü |  |  |  |  | No |  | 1 |  |  | 1 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 |  | 2 |  |  |  |  | 16m² |  |  | N/A |  |  | N/A | N/A |  |  |  |  | No | No | N/A | N/A
Tower 1 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Tower 2 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Tower 3 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Tower 4 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Tower 5 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Tower 6 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Tower 7 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Tower 8 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Tower 9 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Tower 10 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Tower 11 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Tower 12 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Tower 13 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Tower 14 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Tower 15 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Tower 16 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Tower 17 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Tower 18 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Tower 19 (Not as shown on map, removed) |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 2 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 111 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A | [8 empty] | No | No | N/A | N/A
Tower 20 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Tower 21 |  |  |  |  | 28 |  | NATO | NATO | [9 empty] | ü |  |  |  |  | No | 1 |  |  |  | 6 | [6 empty] | 1 | [6 empty] | Gens | 110 |  |  |  | 1 |  |  |  |  | 2 | [6 empty] | 28m² |  |  | N/A |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
Badging Office ECP 3 | 701 |  |  |  | 45 |  | NATO | NATO |  |  |  | ü | [7 empty] | ü |  |  | Yes | 3 | 3 |  |  | 2 | [6 empty] | 3 | 4 | [5 empty] | Mains | 110 | [7 empty] | 2 | 8 |  | 2 |  |  |  | 50m² | [8 empty] | ü |  | ü |  | No | No | N/A | N/A
TCN Badging Room | 0701A |  |  |  | 155 |  | NATO | NATO |  |  |  | ü | [7 empty] | ü |  |  | Yes | 7 | 1 |  |  | 5 |  | 1 | 1 | 1 | 1 | 1 | 5 |  |  |  | 1 |  |  | Mains | 110 |  | 1 | [5 empty] | 1 | 18 |  | 2 |  |  |  | #REF! |  |  |  | Non-Pot | 1 |  | Yes |  | ü |  |  | ü | No | No | N/A | N/A
Seating Area Meals | 0701B |  |  |  |  | 180 | NATO | NATO | [9 empty] | ü |  |  |  |  | No | [18 empty] | Mains | 110 |  | 1 | [6 empty] | 4 |  | 1 |  |  |  | 180m² | [12 empty] | No | No | N/A | N/A |  | Hard Cement Floor
Badging Office NCO/IC | 0701C |  |  |  | 45 |  | NATO | NATO |  |  |  | ü | [7 empty] | ü |  |  | Yes | 1 |  |  |  | 1 | [6 empty] | 1 | [6 empty] | Mains | 110 | [8 empty] | 3 | [5 empty] | #REF! | [8 empty] | ü |  | ü |  | No | No | N/A | N/A
ECP 3 (including all related structures) | [6 empty] | NATO | NATO
Buildings at ECP-4(Bulgarian Control Room) |  |  |  |  | 15 |  | NATO | NATO |  |  |  | ü | [5 empty] | ü |  |  |  |  | No |  | 1 | [16 empty] | Gens | 400 | [8 empty] | 1 | [6 empty] | 15m² | [11 empty] | No | No | N/A | N/A
Buildings at ECP-4(Biomatrics Control Room) |  |  |  |  | 58 |  | NATO | Contractor |  |  |  | ü | [5 empty] | ü |  |  |  |  | No |  | 5 | [16 empty] | Gens | 400 | [8 empty] | 6 |  | 3 |  |  |  |  | 58m² |  |  | N/A |  |  |  |  | 1 |  |  | ü | No | No | N/A | N/A
Buildings at ECP-4(Search Room) |  |  |  |  | 15 |  | NATO | NATO |  |  |  | ü | [5 empty] | ü |  |  |  |  | No | 1 | 4 | [16 empty] | Gens | 400 | [8 empty] | 4 |  | 4 |  |  |  |  | 15m² |  |  | N/A | [8 empty] | No | No | N/A | N/A
ECP-4(Movement Control Team, MCT) | 2004 |  |  |  | 30 |  | NATO | NATO |  |  |  | ü | [5 empty] | ü |  |  |  |  | No | 1 | 4 |  | 5 | [7 empty] | 2 | [6 empty] | Gens | 400 | 1 |  |  | 1 |  |  |  |  | 4 |  | 2 |  |  |  |  | 30m² | [7 empty] | 1 |  |  | ü | No | No | N/A | N/A
ECP 4 (including all related structures) | [6 empty] | NATO | NATO
ECP 5 (including all related structures) | [6 empty] | US | NATO
Northern BFI 1 to 5 (less Fuel handling Eqt) | [6 empty] | NATO | NATO
Southern BFI (less Fuel handling Eqt) | [6 empty] | US | NATO
Retail Fuel Point (less Fuel handling Eqt) | [6 empty] | NATO | NATO
Mortuary Toilets. | 47 |  |  |  | 30 |  | NATO | NATO |  |  | ü | [6 empty] | ü |  |  |  |  | No | 3 | 1 |  |  | 4 |  | 1 | 4 | 2 | 2 |  | 2 |  |  | 2 |  |  |  | Gens | 208 | 1 | 2 |  | 1 |  |  |  |  | 6 | 1 | [5 empty] | 30m² |  |  |  | 1 |  | Yes |  | 1 |  |  | ü | No | No | N/A | N/A
NAMSA Office | 519 |  |  |  | 430 |  | NATO | NATO |  |  |  | ü | [10 empty] | No | 20 | 11 |  |  | 12 |  |  | 8 | 4 |  |  | 14 | [6 empty] | Mains | 208 | 1 | 4 | 400 A | [5 empty] | 47 | 18 | 9 |  |  |  |  | 429.9m² |  |  | Non-Pot |  |  |  |  | ü |  |  | ü | No | No | N/A | N/A
NAMSA Office MWA | 520 |  |  |  | 88 |  | NATO | NATO |  |  |  | ü | [10 empty] | No | 1 | 2 |  |  | 4 | [6 empty] | 7 | [6 empty] | Mains | 208 |  | 1 | [6 empty] | 14 | 2 | [5 empty] | 88.4m² |  |  | Non-Pot |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
NAMSA Area Distribution Node | 520A |  |  |  | 18 |  | NATO | None | [6 empty] | ü |  |  | ü |  |  |  |  | No | 0 | 1 | [9 empty] | 2 | [6 empty] | Gen | Dual | 1 | 2 | 400 A | 1 |  |  |  |  | 6 | [6 empty] | 17.36m² |  |  | Non-Pot | [8 empty] | No | No
NAMSA Barracks | 521 |  |  |  | Part of 519 |  | NATO | NATO | ü |  | ü | [6 empty] | ü |  |  |  |  | No | 26 | 4 |  |  | 15 |  | 1 | 6 |  | 8 | 15 | 36 |  |  |  | 3 |  |  | Mains | 208 | 1 | 20 | [6 empty] | 32 | 4 | 6 |  |  |  |  | Part of 519 |  |  | Non-Pot | 2 |  | Yes |  | ü |  |  | ü | No | No | N/A | N/A
Wash Rack Area Distribution Node | 5900 |  |  |  | 18 |  | NATO | None | [6 empty] | ü |  |  | ü |  |  |  |  | No | 0 | 1 | [9 empty] | 2 | [6 empty] | Gen | Dual | 1 | 2 | 400 A | 1 |  |  |  |  | 6 | [6 empty] | 17.36m² | [11 empty] | No | No | N/A | N/A
Total |  |  |  |  | 39774
NATO/KAF projects under development
Warehouse Depot 38
COMKAF HQ building
Passenger Reception Center
Southside First Responder Station
Northside First Responder Station
Guard Towers in Deep South (2 to 4)
NATO Waste water treatment plant
CFI/NFI/Stakeholder FI
Contractor Engineering Office | 125 |  |  |  | 147 |  | NATO | Contractor | ü |  | ü | ü | [8 empty] | ü | Corimec | No | 5 | 4 |  |  | 11 |  | 1 | 3 | 1 |  | 2 | 9 | [6 empty] | Mains | 208 | 1 | [6 empty] | 3 | 22 |  |  |  | 4 |  |  | 147m² |  |  | Non-Pot |  |  |  | 1 | ü |  |  | ü | No | No | N/A | N/A | Local Server for Eng Office in Building
Facilities Warehouse | 4000 |  |  |  | 1130 | 7910 | NATO | Contractor | [5 empty] | ü | [6 empty] | ü |  | No | 19 | 5 | 6 | 21 | [7 empty] | 16 |  | 2 |  | 1 |  |  | Gens | 110/220 | 1 | 4 |  | 2 |  |  | 18 | 8 | 57 | [9 empty] | N/A | N/A | N/A | No | N/A | ü |  |  | ü | No | No | N/A | N/A |  | Concrete Floor
Supply Warehouse | 4011 |  |  |  | 730 | 9915 | NATO | Contractor | [5 empty] | ü | [6 empty] | ü |  | No | 1 | 4 | 2 | 8 | [7 empty] | 4 |  | 1 |  |  |  |  | Gens | 110 | 1 | 2 |  | 1 |  |  | 16 | 21 | [10 empty] | N/A | N/A | N/A | No | N/A | ü |  |  | ü | No | No | N/A | N/A |  | Concrete Floor
Supply Office | 4011A |  |  |  | 60 |  | NATO | Contractor |  |  |  | ü | [9 empty] | Corimec | No |  | 4 |  |  | 7 | [6 empty] | 3 | [6 empty] | Gens | 110 |  | 1 | [6 empty] | 8 | [6 empty] | 60m² |  |  | N/A | N/A | N/A | No | N/A | ü |  |  | ü | No | No | N/A | N/A
Supply Office | 4011B |  |  |  | 15 |  | NATO | Contractor |  |  |  | ü | [9 empty] | Corimec | No |  | 1 |  |  | 1 | [6 empty] | 1 | [6 empty] | Gens | 110 |  | 1 | [6 empty] | 2 | [6 empty] | 15m² |  |  | N/A | N/A | N/A | No | N/A | ü |  |  | ü | No | No | N/A | N/A
Supply Office | 4011C |  |  |  | 15 |  | NATO | Contractor |  |  |  | ü | [9 empty] | Corimec | No |  | 2 |  |  | 2 | [6 empty] | 1 | [6 empty] | Gens | 110 |  | 1 | [6 empty] | 2 | [6 empty] | 15m² |  |  | N/A | N/A | N/A | No | N/A | ü |  |  | ü | No | No | N/A | N/A
Class IV Warehouse | 4012 |  |  |  | 655 |  | NATO | Contractor | [5 empty] | ü | [6 empty] | ü |  | No | 23 | 4 | 2 | 5 | [7 empty] | 3 |  | 1 |  |  |  |  | Gens | 110 |  | 1 |  |  |  |  | 12 | 14 | [10 empty] | N/A | N/A | N/A | No | N/A | ü |  |  | ü | No | No | N/A | N/A |  | Concrete Floor
PMO | 5000 |  |  |  | 540 | 21200 | NATO | Contractor |  |  |  | ü | [9 empty] | Corimec | No | 22 | 3 |  |  | 27 | [6 empty] | 4 | [6 empty] | Gens | 110 | 1 | 1 |  | 1 |  |  |  |  | 56 | [6 empty] | 450m² |  |  | N/A | N/A | N/A | No | N/A | ü |  |  | ü | No | No | N/A | N/A |  | * Remainder is Concrete Floor
AVEM | 5001 |  |  |  | 2054 |  | NATO | Contractor |  |  |  |  | ü | [8 empty] | Corimec | No | 4 | 8 | 2 | 1 | [7 empty] | 6 |  | 2 |  | 4 |  |  | Gens | 110/220 | 1 | 6 |  | 2 |  |  |  | 12 | 125 | [9 empty] | N/A | N/A | N/A | No | N/A | ü |  |  | ü | No | No | N/A | N/A |  | Concrete Floor
Spray Booth | 5002 |  |  |  | 185 |  | NATO | Contractor |  |  |  |  | ü | [7 empty] | ü |  | No |  | 2 | 2 | [10 empty] | 1 |  |  |  |  | Gens | 110/220 | 1 | 1 |  | 1 |  |  | 12 | [11 empty] | N/A | N/A | N/A | No | N/A | ü |  |  | ü | No | No | N/A | N/A |  | Concrete Floor
Tent | 5003 |  |  |  | 185 |  | NATO | Contractor |  |  |  |  | ü | [7 empty] | ü |  | No |  | 2 | 2 | [10 empty] | 1 |  | 1 |  |  | Gens | 110/220 | 1 | 1 |  |  |  |  | 12 | [11 empty] | N/A | N/A | N/A | No | N/A | ü |  |  | ü | No | No | N/A | N/A |  | Concrete Floor
S-Block Accommodation | 5201 |  |  |  | 825 |  | NATO | Contractor | ü | [12 empty] | Corimec | No | 84 | 8 |  |  | 84 |  | 8 | 32 | 6 | 32 | 64 | 4 | [6 empty] | Gens | 110 | 1 | 2 | [5 empty] | 8 | 198 | [6 empty] | 825m² |  |  | Non-Pot | 1 | 1 | N/A | 1 | ü |  |  | ü | No | No | N/A | N/A
A-Block Accommodation | 5906 |  |  |  | 1100 | 6430 | NATO | Contractor | ü | [12 empty] | Corimec | No | 128 | 6 |  |  | 100 |  | 4 | 24 |  | 48 | 72 | 128 | [6 empty] | Mains | 110 | 1 | 2 |  |  |  |  | 124 |  | 258 |  |  |  | 6 |  |  | 915m² |  |  | Non-Pot | 1 | 1 | N/A | ½ | ü |  |  | ü | No | No | N/A | N/A |  | * Remainder is Concrete Floor
MWR | 5907 |  |  |  | 105 |  | NATO | Contractor | ü | [12 empty] | Corimec | No |  | 6 |  |  | 23 | [6 empty] | 14 | [6 empty] | Mains | 110 | 1 | 2 | [5 empty] | 4 | 28 |  |  |  | 6 |  |  | 105m² |  |  | N/A | N/A | N/A | No | N/A | ü |  |  | ü | No | No | N/A | N/A
B-Block Accommodation | 5908 |  |  |  | 970 |  | NATO | Contractor | ü | [12 empty] | Corimec | No | 112 | 6 |  |  | 84 |  | 4 | 24 | 6 | 36 | 36 | 110 | [6 empty] | Mains | 110 | 1 | 2 | [5 empty] | 8 | 23 |  |  |  | 6 |  |  | 970m² |  |  | Non-Pot | 1 | 1 | N/A | ½ | ü |  |  | ü | No | No | N/A | N/A
ATCO ACS |  |  |  |  | 58 |  | NATO | Contractor | ü |  |  | ü | [8 empty] | ü | Corimec | No | 1 | 3 |  |  | 2 | [6 empty] | 4 | [6 empty] | Mains | 208 | 1 | [7 empty] | 8 | 3 |  |  | 4 |  |  | 58m² | [7 empty] | ü |  |  | ü | No | No | N/A | N/A | No Building Number on record
T-line Accommodation |  |  |  |  | 154 |  | NATO | Contractor | ü | [12 empty] | Corimec | No |  | 22 |  |  | 14 | [6 empty] | 13 | [6 empty] | Gens | 110 | 1 | 1 | [6 empty] | 18 | [6 empty] | 154m² |  |  | Non-Pot | 1 | 1 | N/A | 1 | ü |  |  | ü | No | No | N/A | N/A
WWTP LAB | 412 |  |  |  | 59 |  | NATO | Contractor |  |  |  | ü | [5 empty] | ü |  |  |  |  | Yes | 2 | 1 | [9 empty] | 4 | [6 empty] | Mains | 110 | 1 | 1 |  |  | 1 |  |  | 1 | 12 |  | 1 |  |  |  |  | #REF! |  |  | Non-Pot | 1 | 1 |  |  | ü |  |  | ü | No | No | N/A | N/A
Burn Pit Office | 699 |  |  |  | 60 | 23600 | NATO | Contractor |  |  |  | ü | [9 empty] | Corimec | No | 1 | 3 |  |  | 4 | [6 empty] | 4 | [6 empty] | Gens | 110 | 1 | 1 |  | 1 |  |  |  |  | 8 | [6 empty] | 60m² |  |  | N/A | N/A | N/A | No | N/A | ü |  |  | ü | No | No | N/A | N/A
Water Treatment Plant | 714 |  |  |  | 5910 |  | NATO | Contractor |  |  |  |  | ü |  |  |  |  | ü |  |  |  |  | No |  | 6 | 2 | [8 empty] | 7 | [6 empty] | Mains | 110/220 | 1 |  |  | 1 |  |  |  | 8 |  |  | 2 |  |  |  | 5910m² |  |  |  | Pot |  |  |  |  | ü |  |  |  | No | No | N/A | N/A |  | Hard Cement Floor
Chemical Store | 0714A |  |  |  | 860 |  | NATO | Contractor | [5 empty] | ü |  |  |  |  | ü |  |  |  | No |  | 1 |  |  | 3 | [29 empty] | 860m² |  |  |  | Non-Pot | [8 empty] | No | No | N/A | N/A |  | Hard Cement Floor
Chemical Store | 0714B |  |  |  | 860 |  | NATO | Contractor | [5 empty] | ü |  |  |  |  | ü |  |  |  | No |  | 1 |  |  | 3 | [29 empty] | 860m² |  |  |  | Non-Pot | [8 empty] | No | No | N/A | N/A |  | Hard Cement Floor
Ablution | 0715A |  |  |  | 15 |  | NATO | Contractor |  |  |  | ü | [9 empty] | Corimec | No |  | 1 |  |  | 1 | [6 empty] | 1 | [6 empty] | Mains | 110 | [8 empty] | 3 | [6 empty] | 14.4m² |  |  | Non-Pot |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
WWTP | 1460 |  |  |  | 4675 |  | NATO | Contractor |  |  |  |  | ü |  |  |  |  | ü |  |  |  |  | Yes | [18 empty] | Mains | 110 | 1 |  |  | 1 | [10 empty] | 4675m² |  |  |  | Non-Pot |  |  |  | 18 |  |  |  |  | No | No | N/A | N/A |  | Waste Water Treatment Plant is consists of Bioreactors, Equalization Tanks, Sludge Tanks, Chlorination Tanks. Screen Filter, Open Sewage Sewage Ponds etc.
Container Storage (WWTP) | 1461 | [5 empty] | NATO | Contractor | [9 empty] | ü |  |  |  |  | Yes | [18 empty] | Mains | 110 | [18 empty] | Non-Pot | [8 empty] | No | No | N/A | N/A
Container Storage (WWTP) | 1461 | [5 empty] | NATO | Contractor | [9 empty] | ü |  |  |  |  | Yes | [18 empty] | Mains | 110 | [18 empty] | Non-Pot | [8 empty] | No | No | N/A | N/A
Container Storage (WWTP) | 1461 | [5 empty] | NATO | Contractor | [9 empty] | ü |  |  |  |  | Yes | [18 empty] | Mains | 110 | [18 empty] | Non-Pot | [8 empty] | No | No | N/A | N/A
Container Storage (WWTP) | 1461 | [5 empty] | NATO | Contractor | [9 empty] | ü |  |  |  |  | Yes | [18 empty] | Mains | 110 | [18 empty] | Non-Pot | [8 empty] | No | No | N/A | N/A
Container Storage (WWTP) | 1461 | [5 empty] | NATO | Contractor | [9 empty] | ü |  |  |  |  | Yes | [18 empty] | Mains | 110 | [18 empty] | Non-Pot | [8 empty] | No | No | N/A | N/A
Container Storage (WWTP) | 1461 | [5 empty] | NATO | Contractor | [9 empty] | ü |  |  |  |  | Yes | [18 empty] | Mains | 110 | [18 empty] | Non-Pot | [8 empty] | No | No | N/A | N/A
Container Tricon WWTP | 1462 | [5 empty] | NATO | Contractor | [9 empty] | ü |  |  |  |  | Yes | [18 empty] | Mains | 110 | [18 empty] | Non-Pot | [8 empty] | No | No | N/A | N/A
Vehicle Wash Rack | 1468 |  |  |  | 1623 |  | NATO | Contractor | [11 empty] | ü |  |  | No | [18 empty] | Mains | 110 | 1 | [9 empty] | 14 | [7 empty] | Non-Pot |  |  | N/A | N/A |  |  |  |  | No | No | N/A | N/A
NATO MWR Gymnasium | 600 |  |  |  | 2025 | 15950 | NATO | Contractor | ü |  |  | ü | [5 empty] | ü |  |  |  | Corimec | No | 3 | 4 | [14 empty] | 4 |  | Mains | 208 | 1 | [6 empty] | 4 | 225 |  | 21 |  |  |  |  | 2025m² |  |  | Potable |  |  | No |  | ü |  | ü |  | No | No | N/A | N/A | 24/7 Operation
TOTAL |  |  |  |  | 25015
Optional facilities
RSOI Ablutions - CAN/NL Tent Lines | 0200B |  |  | 2 | 29 |  | NATO | CAN/NL |  |  | ü | [6 empty] | ü |  |  |  |  | No |  | 2 | [5 empty] | 8 | 3 | 8 | 8 | 2 |  |  |  | 2 |  |  | Mains | 110 | [8 empty] | 8 |  | 2 |  |  |  |  | 28.8m² |  |  | Non-Pot | 2 | [7 empty] | No | No | N/A | N/A |  | Building No's not on Base Map
RSOI Ablutions - CAN/NL Tent Lines | 0200C |  |  | 3 | 29 |  | NATO | CAN/NL |  |  | ü | [6 empty] | ü |  |  |  |  | No |  | 2 | [5 empty] | 8 | 3 | 8 | 8 | 2 |  |  |  | 2 |  |  | Mains | 110 | [8 empty] | 8 |  | 2 |  |  |  |  | 28.8m² |  |  | Non-Pot | 2 | [7 empty] | No | No | N/A | N/A |  | Building No's not on Base Map
RSOI Ablutions - CAN/NL Tent Lines | 0200D |  |  | 4 | 29 |  | NATO | CAN/NL |  |  | ü | [6 empty] | ü |  |  |  |  | No |  | 2 | [5 empty] | 8 | 3 | 8 | 8 | 2 |  |  |  | 2 |  |  | Mains | 110 | [8 empty] | 8 |  | 2 |  |  |  |  | 28.8m² |  |  | Non-Pot | 2 | [7 empty] | No | No | N/A | N/A |  | Building No's not on Base Map
RSOI Ablutions - CAN/NL Tent Lines | 0200E |  |  | 5 | 29 |  | NATO | CAN/NL |  |  | ü | [6 empty] | ü |  |  |  |  | No |  | 2 | [7 empty] | 8 | 6 | 2 |  |  |  | 2 |  |  | Mains | 110 | [8 empty] | 8 |  | 2 |  |  |  |  | 28.8m² |  |  | Non-Pot | 2 | [7 empty] | No | No | N/A | N/A |  | Building No's not on Base Map
RSOI Ablutions - CAN/NL Tent Lines | 0200F |  |  | 6 | 29 |  | NATO | CAN/NL |  |  | ü | [6 empty] | ü |  |  |  |  | No |  | 2 | [5 empty] | 6 | 4 |  | 6 | 2 |  |  |  | 2 |  |  | Mains | 110 | [8 empty] | 8 |  | 2 |  |  |  |  | 28.8m² |  |  | Non-Pot | 2 | [7 empty] | No | No | N/A | N/A |  | Building No's not on Base Map
RSOI Ablutions - CAN/NL Tent Lines | 0200G |  |  | 7 | 29 |  | NATO | CAN/NL |  |  | ü | [6 empty] | ü |  |  |  |  | No |  | 2 | [7 empty] | 8 | 6 | 2 |  |  |  | 2 |  |  | Mains | 110 | [8 empty] | 8 |  | 2 |  |  |  |  | 28.8m² |  |  | Non-Pot | 2 | [7 empty] | No | No | N/A | N/A |  | Building No's not on Base Map
RSOI Ablutions - CAN/NL Tent Lines | 0200H |  |  | 8 | 29 |  | NATO | CAN/NL |  |  | ü | [6 empty] | ü |  |  |  |  | No |  | 2 | [7 empty] | 8 | 6 | 2 |  |  |  | 2 |  |  | Mains | 110 | [8 empty] | 8 |  | 2 |  |  |  |  | 28.8m² |  |  | Non-Pot | 2 | [7 empty] | No | No | N/A | N/A |  | Building No's not on Base Map
Boardwalk | 270 |  |  |  | 2021 | 12810 | Stakeholder | NATO | [10 empty] | ü |  |  |  | No | [18 empty] | Mains | 208 | 3 | 3 | 400 A | [7 empty] | 21 | [6 empty] | 2,021m² | N/A | N/A | N/A | N/A | N/A | ü |  |  |  | No | No | N/A | N/A |  | Covered Walkway.
Dog Kennel | 702 |  |  |  | 490 |  | US | USA K9 | ü |  |  | ü | [7 empty] | ü |  |  | Yes | 10 | 5 |  |  | 7 |  | 1 | 1 |  | 1 | 1 | 18 | [6 empty] | Mains | 110 | 1 | [7 empty] | 32 |  |  |  | 12 |  | 490m² |  |  |  | Non-Pot | 1 | 1 | Yes |  | ü |  | ü |  | No | No | N/A | N/A |  | Hard Cement Floor
Dog Kennel | 703 |  |  |  | 490 |  | US | USA K9 | ü |  |  | ü | [7 empty] | ü |  |  | Yes | 10 | 5 |  |  | 7 |  | 1 | 1 |  | 1 | 1 | 18 | [6 empty] | Mains | 110 | 1 | [7 empty] | 32 |  |  |  | 12 |  | 490m² |  |  |  | Non-Pot | 1 |  | Yes |  | ü |  | ü |  | No | No | N/A | N/A |  | Hard Cement Floor
Dog Kennel | 704 |  |  |  | 490 |  | US | USA K9 | ü |  |  | ü | [7 empty] | ü |  |  | Yes | 10 | 5 |  |  | 7 |  | 1 | 1 |  | 1 | 1 | 18 | [6 empty] | Mains | 110 | 1 | [7 empty] | 32 |  |  |  | 12 |  | 490m² |  |  |  | Non-Pot | 1 |  | Yes |  | ü |  | ü |  | No | No | N/A | N/A |  | Hard Cement Floor
Ablution Adj kennel | 0704A |  |  |  | 30 |  | US | USA K9 |  |  | ü | [6 empty] | ü |  |  |  |  | Yes |  | 1 |  |  |  |  | 1 | 8 |  | 8 | 10 | 2 |  |  | 2 |  |  |  | Mains | 110 |  | 1 | [6 empty] | 8 |  | 1 |  |  |  |  | 450m² |  |  | Non-Pot | 1 |  |  | Yes |  |  |  |  | No | No | N/A | N/A
Close Air Support Hanger | 8302 |  |  |  | 2500 |  | NATO | TBD | [7 empty] | ü |  | ü |  |  |  |  | No |  | 8 | 2 | [15 empty] | Mains | 220 | 1 | [5 empty] | 50 |  |  |  | 14 | [12 empty] | ü |  |  |  | No | No | N/A | N/A |  | Concrete Floor
ITAS Hanger No 1 | 8501 |  |  |  | 2601 |  | NATO | TBD | [7 empty] | ü |  | ü |  |  |  |  | No |  | 7 | 3 | [15 empty] | Mains | 380 | 1 |  | 400 A |  |  |  | 60 | 7 |  |  | 7 | [12 empty] | ü |  |  |  | No | No | N/A | N/A | Red Obstruction Lights on apex of roof. | Painted Concrete
ITAS Hanger No 2 | 8502 |  |  |  | 2601 |  | NATO | TBD | [7 empty] | ü |  | ü |  |  |  |  | No |  | 7 | 3 | [15 empty] | Mains | 380 | 1 |  | 400 A |  |  |  | 60 | 7 |  |  | 7 | [12 empty] | ü |  |  |  | No | No | N/A | N/A | Red Obstruction Lights on apex of roof. | Painted Concrete
Quick Reaction Area Accommodation |  |  |  |  | 200 | Part of BOC | NATO | TBD | ü | [11 empty] | ü |  | No |  | 2 | 2 |  | 6 | [13 empty] | Mains | 110 |  | 1 |  |  |  |  | 12 | [8 empty] | 200m² |  |  | N/A | N/A | N/A | No | N/A | ü |  |  |  | No | No | N/A | N/A
Fuel Download OPS office | 5 |  |  |  | 49 |  | NATO | SUPREME |  |  |  | ü | [5 empty] | ü | ü |  |  |  | No |  | 2 |  |  | 6 |  | 1 |  |  |  |  | 2 | [6 empty] | Gens | 110 |  | 1 |  | 1 |  |  | 8 | [10 empty] | 49m² | [5 empty] | ü |  |  |  | No | No | N/A | N/A
Ablution |  |  |  | 13/13A | 15 |  | NATO | FIELD ART 457 |  |  | ü | [10 empty] | Corimec | No |  | 2 |  |  |  |  | 2 | 6 | 2 |  | 6 | 2 | [6 empty] | Mains | 110 | 1 | [5 empty] | 2 |  |  |  | 2 |  |  |  |  | 15m² |  |  | Non-Pot | [8 empty] | No | No | N/A | N/A
Ablution |  |  |  | 14 | 15 |  | NATO | FIELD ART 457 |  |  | ü | [10 empty] | Corimec | No |  | 2 |  |  |  |  | 2 | 6 | 2 |  | 6 | 2 | [6 empty] | Mains | 110 | 1 | [5 empty] | 2 |  |  |  | 2 |  |  |  |  | 15m² |  |  | Non-Pot | [8 empty] | No | No | N/A | N/A
Ablution |  |  |  | 15/15A | 15 |  | NATO | CAN/NL |  |  | ü | [10 empty] | Corimec | No |  | 2 |  |  |  |  | 2 | 6 | 2 |  | 6 | 2 | [6 empty] | Mains | 110 | 1 | [5 empty] | 2 |  |  |  | 2 |  |  |  |  | 15m² |  |  | Non-Pot | [8 empty] | No | No | N/A | N/A
Ablution |  |  |  | 16A | 15 |  | NATO | CAN/NL |  |  | ü | [10 empty] | Corimec | No |  | 2 |  |  |  |  | 2 | 6 | 2 |  | 6 | 2 | [6 empty] | Mains | 110 | 1 | [5 empty] | 2 |  |  |  | 2 |  |  |  |  | 15m² |  |  | Non-Pot | [8 empty] | No | No | N/A | N/A
Ablution |  |  |  | 17A | 15 |  | NATO | CAN/NL |  |  | ü | [10 empty] | Corimec | No |  | 2 |  |  |  |  | 2 | 6 | 2 |  | 6 | 2 | [6 empty] | Mains | 110 | 1 | [5 empty] | 2 |  |  |  | 2 |  |  |  |  | 15m² |  |  | Non-Pot | [8 empty] | No | No | N/A | N/A
Ablution |  |  |  | 27 | 15 |  | NATO | POLISH |  |  | ü | [10 empty] | Corimec | No |  | 2 |  |  |  |  | 2 | 6 | 2 |  | 6 | 2 | [6 empty] | Mains | 110 | 1 | [5 empty] | 2 |  |  |  | 2 |  |  |  |  | 15m² |  |  | Non-Pot | [8 empty] | No | No | N/A | N/A
Ablution |  |  |  | 28 | 15 |  | NATO | POLISH |  |  | ü | [10 empty] | Corimec | No |  | 2 |  |  |  |  | 2 | 6 | 2 |  | 6 | 2 | [6 empty] | Mains | 110 | 1 | [5 empty] | 2 |  |  |  | 2 |  |  |  |  | 15m² |  |  | Non-Pot | [8 empty] | No | No | N/A | N/A
RC(S) | 0120A |  |  |  | 102 |  | Tri Nat | Tri Nat |  |  |  | ü | [5 empty] | ü |  |  |  |  | No | 3 | 6 |  |  | 12 | [6 empty] | 6 | [6 empty] | Mains | 110 |  | 1 | [6 empty] | 12 | [6 empty] | 102m² | [7 empty] | ü |  |  |  | No | No | N/A | N/A
RC(S) | 0120B |  |  |  | 102 |  | Tri Nat | Tri Nat |  |  |  | ü | [5 empty] | ü |  |  |  |  | No | 3 | 6 |  |  | 12 | [6 empty] | 6 | [6 empty] | Mains | 110 |  | 1 | [6 empty] | 12 | [6 empty] | 102m² | [7 empty] | ü |  |  |  | No | No | N/A | N/A
RC(S) | 0120C |  |  |  | 102 |  | Tri Nat | Tri Nat |  |  |  | ü | [5 empty] | ü |  |  |  |  | No | 3 | 6 |  |  | 12 | [6 empty] | 6 | [6 empty] | Mains | 110 |  | 1 | [6 empty] | 12 | [6 empty] | 102m² | [7 empty] | ü |  |  |  | No | No | N/A | N/A
RC(S) | 0120D |  |  |  | 68 |  | Tri Nat | Tri Nat |  |  |  | ü | [5 empty] | ü |  |  |  |  | No |  | 4 |  |  | 8 | [6 empty] | 4 | [6 empty] | Mains | 110 |  | 1 | [6 empty] | 8 | [6 empty] | 68m² | [7 empty] | ü |  |  |  | No | No | N/A | N/A
RC(S) | 122 |  |  |  | 170 |  | Tri Nat | Tri Nat |  |  |  | ü | [5 empty] | ü |  |  |  |  | No | 4 | 10 |  |  | 12 | [6 empty] | 10 | [6 empty] | Mains | 110 | 1 | 1 | [6 empty] | 20 | [6 empty] | 170m² | [7 empty] | ü |  |  |  | No | No | N/A | N/A
RC(S) | 0122J |  |  |  | 84 |  | Tri Nat | Tri Nat | ü | [9 empty] | ü |  |  |  | No | 2 | 2 |  |  | 4 | [6 empty] | 4 | [6 empty] | Mains | 110 | 1 | [7 empty] | 6 | [6 empty] | 84m² |  |  | Pot |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
RC(S) |  |  |  | 122J2 | 84 |  | Tri Nat | Tri Nat | ü | [9 empty] | ü |  |  |  | No | 2 | 2 |  |  | 4 | [6 empty] | 4 | [6 empty] | Mains | 110 | 1 | [7 empty] | 6 | [6 empty] | 84m² |  |  | Pot |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
RC(S) |  |  |  | 122J3 | 84 |  | Tri Nat | Tri Nat | ü | [9 empty] | ü |  |  |  | No | 2 | 2 |  |  | 4 | [6 empty] | 4 | [6 empty] | Mains | 110 | 1 | [7 empty] | 6 | [6 empty] | 84m² |  |  | Pot |  |  |  |  | ü |  |  |  | No | No | N/A | N/A
RC(S) | 0122K |  |  |  | 51 |  | Tri Nat | Tri Nat |  |  |  | ü | [5 empty] | ü |  |  |  |  | No |  | 3 |  |  | 6 | [6 empty] | 3 | [6 empty] | Mains | 110 |  | 3 | [6 empty] | 6 | [6 empty] | 51m² | [7 empty] | ü |  |  |  | No | No | N/A | N/A
RC(S) | 0122L |  |  |  | 17 |  | Tri Nat | Tri Nat |  |  |  | ü | [5 empty] | ü |  |  |  |  | No |  | 1 |  |  | 2 | [6 empty] | 1 | [6 empty] | Mains | 110 |  | 1 | [6 empty] | 2 | [6 empty] | 17m² | [7 empty] | ü |  |  |  | No | No | N/A | N/A
RC(S) | 0122M |  |  |  | 17 |  | Tri Nat | Tri Nat |  |  |  | ü | [5 empty] | ü |  |  |  |  | No |  | 1 |  |  | 2 | [6 empty] | 1 | [6 empty] | Mains | 110 |  | 1 | [6 empty] | 2 | [6 empty] | 17m² | [7 empty] | ü |  |  |  | No | No | N/A | N/A
RC(S) | 170 |  |  |  | 238 |  | Tri Nat | Tri Nat |  |  |  | ü | [5 empty] | ü |  |  |  |  | No | 4 | 14 |  |  | 20 | [6 empty] | 14 | [6 empty] | Mains | 110 |  | 1 | [6 empty] | 28 | [6 empty] | 238m² | [7 empty] | ü |  |  |  | No | No | N/A | N/A
RC(S) | 171 |  |  |  | 170 |  | Tri Nat | Tri Nat |  |  |  | ü | [5 empty] | ü |  |  |  |  | No | 2 | 10 |  |  | 14 | [6 empty] | 10 | [6 empty] | Mains | 110 |  | 1 | [6 empty] | 20 | [6 empty] | 238m² | [7 empty] | ü |  |  |  | No | No | N/A | N/A
RC(S) | 235 |  |  |  | 288 |  | Tri Nat | Tri Nat |  |  |  | ü | [6 empty] | ü |  |  |  | No | 5 | 3 | [9 empty] | 12 | [6 empty] | Mains | 110 | 1 | 2 | [6 empty] | 34 | [8 empty] | 288m² | [5 empty] | ü |  |  |  | No | No | N/A | N/A
RC(S) | 0235A |  |  |  | 34 |  | Tri Nat | Tri Nat |  |  | ü | [6 empty] | ü |  |  |  |  | No |  | 2 | [9 empty] | 2 | [6 empty] | Mains | 110 |  | 1 | [6 empty] | 8 | [6 empty] | 34m² | [7 empty] | ü |  |  |  | No | No | N/A | N/A
RC(S) | 0235B |  |  |  | 442 |  | Tri Nat | Tri Nat |  |  |  | ü | [5 empty] | ü |  |  |  |  | No | 5 | 26 |  |  | 16 | [6 empty] | 26 | [6 empty] | Mains | 110 | 1 | 10 | [6 empty] | 52 | [6 empty] | 442m² | [7 empty] | ü |  |  |  | No | No | N/A | N/A
RC(S) | 0235C |  |  |  | 136 |  | Tri Nat | Tri Nat |  |  |  | ü | [5 empty] | ü |  |  |  |  | No |  | 8 |  |  | 14 | [6 empty] | 8 | [6 empty] | Mains | 110 | 1 | 4 | [6 empty] | 16 | [6 empty] | 136m² | [7 empty] | ü |  |  |  | No | No | N/A | N/A
RC(S) | 0235D |  |  |  | 476 |  | Tri Nat | Tri Nat |  |  |  | ü | [5 empty] | ü |  |  |  |  | No | 9 | 28 |  |  | 26 | [6 empty] | 28 | [6 empty] | Mains | 110 | 1 | 12 | [6 empty] | 56 | [6 empty] | 476m² | [7 empty] | ü |  |  |  | No | No | N/A | N/A
RC(S) | 0235E |  |  |  | 170 |  | Tri Nat | Tri Nat |  |  |  | ü | [5 empty] | ü |  |  |  |  | No | 4 | 10 |  |  | 18 | [6 empty] | 10 | [6 empty] | Mains | 110 |  | 5 | [6 empty] | 20 | [6 empty] | 170m² | [7 empty] | ü |  |  |  | No | No | N/A | N/A
RC(S) | 0235F |  |  |  | 442 |  | Tri Nat | Tri Nat |  |  |  | ü | [5 empty] | ü |  |  |  |  | No |  | 26 |  |  | 28 | [6 empty] | 26 | [6 empty] | Mains | 110 | 1 | 13 | [6 empty] | 52 | [6 empty] | 442m² | [7 empty] | ü |  |  |  | No | No | N/A | N/A
RC(S) | 0235J |  |  |  | 238 |  | Tri Nat | Tri Nat |  |  |  | ü | [5 empty] | ü |  |  |  |  | No | 4 | 14 |  |  | 20 | [6 empty] | 14 | [6 empty] | Mains | 110 |  | 6 | [6 empty] | 28 | [6 empty] | 238m² | [7 empty] | ü |  |  |  | No | No | N/A | N/A
RC(S) | 0235K |  |  |  | 102 |  | Tri Nat | Tri Nat |  |  |  | ü | [5 empty] | ü |  |  |  |  | No | 3 | 6 |  |  | 12 | [6 empty] | 6 | [6 empty] | Mains | 110 |  | 3 | [6 empty] | 12 | [6 empty] | 102m² | [7 empty] | ü |  |  |  | No | No | N/A | N/A
TOTAL |  |  |  |  | 15397

## AOS
KAF AOS
Serial Nr | Airfield Operating Surface (AOS) | Surface (sm) | Current User | Current Req status | Remarks
1 | Runway (including shoulders) | 229874 | NATO | B
2 | Foxtrot Taxiway (including connectors A to E) | 229886 | NATO | B
3 | Taxiway A North/North taxiway/B North | 55400 | NATO | B
4 | Northern Taxiway (including connectors) | 106875 | NATO | B | Under Constr
5 | Kilo ramp | 42242 | NATO | B
6 | Lima ramp | 24684 | NATO | B
7 | DAC Ramp | 24566 | NATO | B
8 | Whiskey ramp | 120168 | NATO/US/CA | O | Strat ramp ITAS
9 | Sierra (TAR) Ramp | 111631 | NATO | O | Under Constr
10 | Quebec Ramp | 51394 | NATO | O
11 | Farp Helo ramp | 10000 | NATO | O
12 | Mike ramp | 89809 | US/NL/UK | O
13 | Hotel ramp | 30376 | US/UK | O
14 | Golf ramp | 28226 | US | O
15 | Panther ramp | 21515 | US | O
16 | Panther + ramp | 13040 | UK | O
17 | Tango ramp | 21600 | UK | O
18 | Uniform ramp | 14400 | FR/BE | O
19 | Victor ramp | 19500 | NL | O
20 | India Ramp | 11700 | US | O
21 | Whiskey + ramp | 33750 | US | O
22 | UAE ramp | 10500 | UAE | O
23 | X-Ray Ramp | 38000 | CA | O
24 | Stallion ramp | 50000 | Contractor | O
25 | DOS November | 29374 | US | O
26 | Oscar Ramp | 50000 | US | O | Under Constr
27 | ISR (Yankee) Ramp | 57000 | US | O | Under Constr
28 | CAS (Zulu) Ramp | 57200 | US | O | Under Constr
29 | Cargo Helo Apron | 75000 | US | O | Future project
30 | Refueler Apron ramp | 70000 | US | O | Future project
31 | Hot Cargo Pad DAC | 42500 | US | O | Future project
32 | Northern KAF Heliport | 600000 | All | O | Future project
33 | Ramp (West of DAC) | 80000 | TBD | O | Future project
| Total AOS | 2450210
| Airfield roads | 11000 | NATO |  | Threshold roads
| CATO yards | 30000 | NATO

## Roads
KAF Roads Network
Road Nr | Road | Surface Type/Measurements | [5 empty] | Req Status | Remarks
|  | Length Asphalt (m) | Length Gravel (m) | Currently Emulsified bitumen (TACO) | Width (m) | Surface Asphalt (sm) | Surface TACO/gravel (sm)
APOD function roads
A1 | Screaming Eagle | 2590 |  |  | 8 | 20720 | 0 | B
A3 | Bronco Rd | 1560 |  |  | 8 | 12480 | 0 | B
A4 | Louisiana Rd |  | 800 |  | 8 | 0 | 6400 | B | Asphalt (or TACO) required under CUR 400
A11 | Dalton Rd (Wash rack - Burn Pit) |  | 1350 |  | 6 | 0 | 8100 | B
A12 | Roscoe Rd |  | 450 |  | 6 | 0 | 2700 | B
B4 | 6th Street (St Andrews Street) |  | 400 |  | 8 | 0 | 3200 | B | Asphalt (or TACO) required under CUR 400
C1 | From ECP 4, Leg 1 | 800 |  |  | 8 | 6400 | 0 | B
C2 | After right turn, Leg 2 | 500 |  |  | 8 | 4000 | 0 | B
C3 | After left turn, Leg 3 | 1200 |  |  | 8 | 9600 | 0 | B
C4 | Slight left, Leg 4 | 800 |  |  | 8 | 6400 | 0 | B
C5 | Slight right. Leg 5 |  | 700 |  | 8 | 0 | 5600 | B | Asphalt required under CUR 400
C6 | Slight right. Leg 6 |  | 1200 |  | 8 | 0 | 9600 | B | Asphalt required under CUR 400
D1 | From ECP 4 to Mustang ramp |  | 2500 |  | 8 | 0 | 20000 | B | Asphalt required under CUR 400
D2 | North of ASP/Mustang |  | 1700 |  | 8 | 0 | 13600 | B
D3 | Western perimeter | 750 | 3350 | v (SP) | 8 | 6000 | 26800 | B | Asphalt required under CUR 400 (South Park)
D4 | Deep South perimeter |  | 3500 |  | 8 | 0 | 28000 | B
D5 | ECP 5 to ECP 3 (Princes street/Tropic Lightning Rd) |  | 1500 |  | 8 | 0 | 12000 | B
D6 | From Role 3 Hosp to ECP 4 | 2500 | 1500 |  | 8 | 20000 | 12000 | B
A7 | KAF Rd |  | 930 |  | 6 | 0 | 5580 | B | Asphalt (or TACO) required under CUR 400
TOTAL |  | 10700 | 19880 |  |  | 85600 | 153580
Garrison roads
A2 | All American Bld | 1100 | 900 |  | 8 | 8800 | 7200 | O | Asphalt (or TACO) required under CUR 400
A5 | Motorpool Rd |  | 2180 |  | 8 | 0 | 17440 | O | Asphalt (or TACO) required under CUR 400
A6 | Bisque Rd |  | 430 |  | 6 | 0 | 2580 | O | Asphalt (or TACO) required under CUR 400
A8 | Air Force Rd |  | 350 |  | 6 | 0 | 2100 | O
A9 | Mountain Way |  | 150 |  | 6 | 0 | 900 | O | Combined with parking lot
A10 | Special forces Way |  | 350 |  | 6 | 0 | 2100 | O
A13 | MP Loop |  | 350 |  | 6 | 0 | 2100 | O
A14 | KBR Ln |  | 350 |  | 6 | 0 | 2100 | O
A15 | LSA Ln |  | 350 |  | 6 | 0 | 2100 | O
A16 | Steel Rd |  | 350 |  | 6 | 0 | 2100 | O
A17 | Enduring freedom Way |  | 200 |  | 6 | 0 | 1200 | O
A18 | Texas Rd |  | 700 |  | 6 | 0 | 4200 | O
A19 | Alabama Rd |  | 300 |  | 6 | 0 | 1800 | O
A20 | Around Poo Pond Rd |  | 200 |  | 6 | 0 | 1200 | O
A21 | Around retention Pond |  | 300 |  | 6 | 0 | 1800 | O
B1 | 2nd Street (Castle street) |  | 1250 |  | 6 | 0 | 7500 | O | Asphalt (or TACO) required under CUR 400
B2 | 4th Street |  | 700 |  | 8 | 0 | 5600 | O | Asphalt (or TACO) required under CUR 400
B3 | 5th Street (St Davids Street) |  | 500 |  | 6 | 0 | 3000 | O | Asphalt (or TACO) required under CUR 400
B5 | 7th Street |  | 250 |  | 6 | 0 | 1500 | O | Asphalt (or TACO) required under CUR 400
B6 | 5th Avenue (Queen Street) |  | 600 | v | 6 | 0 | 3600 | O | Asphalt (or TACO) required under CUR 400
B7 | 7th Avenue |  | 1250 | v | 8 | 0 | 10000 | O | Asphalt (or TACO) required under CUR 400
B8 | Princes Street Portion |  | 1400 | v | 8 | 0 | 11200 | O
E1 | Deep South Longitudinal roads |  | 3000 |  | 6 | 0 | 18000 | O | Under development
E2 | Deep South Lateral roads |  | 4500 |  | 6 | 0 | 27000 | O | Under development
E1 | East End Longitudinal roads |  | TBD |  | TBD | 0 | TBD | O | Under development
E2 | East End Lateral roads |  | TBD |  | TBD | 0 | TBD | O | Under development
TOTAL |  | 1100 | 20910 |  |  | 8800 | 138320
| GRAND TOTAL | 11800 | 40790 |  |  | 94400 | 291900
Remarks : Width of some roads based on future requirement under CUR 400